Creative North Solution / DT accessories series

DT-FM Set – BST14i2 KNX

Ceiling installation set for installation in false ceilings (hole size Ø 68mm)

For KNX sensor DT series

With pre-assembled connection cables for Wieland BST14®

Tool-free assembly by simply snapping on

Optionally available is an alternative detector cover for flush ceiling installation (hole size Ø 85mm)
Device type: Ceiling installation set – accessories
Connection options: WIELAND BST14i2 KNX

Dimensions: Ø 68mm, H: 55mm

Cable length: 1,50m

Area of application: Interior

Housing color: Transparent

Housing: UV-stabilized polycarbonate