Creative North Solution / DT accessories series

DT-Adapter Set w

Adapter plate – white for flush-mounted boxes >Ø 68mm
For sensor DT series
Device type: Adapter set – accessories

Dimensions: Ø 95mm, H: 5mm

Area of application: Interior

Housing color: White [RAL 9016]

Housing: UV-stabilized polycarbonate