Creative North Solution / DT accessories series

DT-FM Flat Cover

Alternative detector cover – white for sensor DT series 
Must be used together with the DT-FM Set ceiling installation set

For installation in false ceilings (hole size Ø 85mm) 
Enables extra flat installation flush with the ceiling
Device type: Ceiling installation set – accessories

Dimensions: Ø 96mm, H: 11mm

Area of application: Interior

Housing color: White [RAL 9016]

Housing: UV-stabilized polycarbonate