Creative North Solution / DT accessories series

DT-Surface Box a

IP20 surface box-anthracite for sensor DT series
4-fold cable entry with Wiska EMT16 membrane grommet
Device type: Surface box - accessories

Dimensions: Ø 84mm, H: 36mm

Area of application: Interior

Housing colour: Anthracite [RAL 7021]

Housing: UV-stabilized polycarbonate