Creative North Solution / DT accessories series

DT-FM Set

Ceiling installation set for installation in false ceilings (hole size Ø 68mm)

For sensor DT series 
Tool-free assembly by simply snapping on

Optionally available is an alternative detector cover for flush ceiling installation (hole size Ø 85mm)
Device type: Ceiling installation set – accessories
Connection options: Standard

Dimensions: Ø 68mm, H: 55mm

Area of application: Interior

Housing color: Transparent

Housing: UV-stabilized polycarbonate